NON-PRIORITY PROJECT WATER QUALITY PLAN

(NPP)

For:

(Insert Project Name)

(Site Address or Tract/Lot Number)

Prepared for:							Prepared by:

(Insert Owner/Developer Name) 				(Insert Preparer or Consulting/

(Insert Address)						Engineering Firm Name)

(Insert City, State, ZIP)					(Insert Address)

(Insert Contact Name) 					(Insert City, State, ZIP)

(Insert Telephone)						(Insert Contact Name)

(Insert Email Address)					(Insert Telephone)

(Insert Email Address)

(Insert Date Prepared/Revised)

Reviewed for compliance with the Local Implementation Plan:

_____________________________

City Engineer		           Date

__________________________

City Engineer							Date

Non-Priority Project Water Quality Plan (NPP)

The Orange County Stormwater Program has developed this Non-Priority Project Water Quality Plan (NPP) for new development / significant redevelopment projects that do not meet the criteria for Priority Projects as defined within the County’s Model Water Quality Management Plan (see Model WQMP Sections 1.3 and 1.4) but that qualify as Non-Priority Projects as defined in the Drainage Area Management Plan (DAMP).  These projects are required under the Santa Ana Regional Board MS4 Permit (North Orange County Permit) to “document, via a WQMP or similar mechanism, site design, source control and any other BMPs which may or may not include treatment control BMPs”.  There is no similar requirement under the San Diego Regional Board MS4 Permit (South Orange County).  This plan covers both private and public agency projects that qualify as Non-Priority Projects.

Qualifying Non-Priority Projects are projects that do not fall under one of the Priority Project Categories defined within the Model WQMP but meet one of the following conditions:

Require discretionary action that will include a precise plan of development, except for those projects exempted by the Water Quality Ordinance (as applicable); or

Require issuance of a non-residential plumbing permit for hazardous pipelines as defined in the County or local Water Quality / Stormwater Ordinance. Non-residential plumbing projects that do not pose a potential threat to public safety do not require a WQMP for approval.

A “discretionary action” under CEQA is defined as “an activity which requires the public agency to exercise judgment in deciding whether to approve or disapprove the particular activity, as distinguished from situations where the public agency merely has to determine whether there has been conformity with applicable ordinances or other laws.” (California Public Resources Code § 21080(a); CEQA Guidelines § 15357).   Examples of discretionary actions include: feature plans, area plans, use permits, site development permits and special use permits.  “Ministerial actions” under CEQA are those where little or no judgment or deliberation by a Permittee is required or possible. Generally, the only example of a ministerial approval action that would qualify as a Non-Priority Project would be a project that requires the issuance of a Non-Residential Plumbing Permit.

All other projects and activities that only require a ministerial grading or building permit for which the Permittee has no discretion to approve do not fall under the requirements of this new development program, with the exception of projects that require a Non-Residential Plumbing Permit.

This plan is provided for summarizing basic project information and stormwater Best Management Practices that are planned for controlling discharges of pollutants from proposed Non-Priority Projects and identify applicable source conrol BMPs, site design features, and determine BMP maintenance requirements. Non-Priority Project proponents are required to complete the plan for local jurisdiction review and approval. Applicable sections of the Technical Guidance Document are referenced for assistance with completing each NPP section. All Non-Priority Project Water Quality Plans must be in compliance with the Local Implementation Plan developed by each local agency. The local jurisdiction may request additional information necessary for local Non-Priority Project review and approval.

Local jurisdictions may modify existing templates for local program implementation to incorporate the information contained in this Plan provided all information necessary to meet requirements contained in the MS4 Permit and the DAMP for Non-Priority Projects are contained within the local plan.

Each Project WQMP will be stored within the City’s files, and will continue with the property after the completion of the construction phase, and the City may require that the terms, conditions and requirements be recorded with the County Recorder’s office by the property owner or any successive owner as authorized by the Water Quality Ordinance. In lieu of recordation, the City may require the Project WQMP to include a Notice of Transfer Responsibility Form, which serves to notify the City that a change in ownership has occurred and notify the new owner of its responsibility to continue implementing the Project WQMP.

The final Project WQMP must include calculations to support the structural integrity of the selected LID or treatment control BMP as appropriate and be prepared by or under the direction of a California Registered Civil Engineer and affixed with their stamp.

Non-Priority Project Water Quality Plan

Contents

Section I: General Information……………………….……………………………….. 3

Section II: Project Description……………………………………………………….... 5

Section III: Site Description……………………………………………………….……6

Section IV: Best Management Practices (BMPs)…………………...............................7

Section V: Inspection and Maintenance Responsibilities…………………………... 13

Section VI: Plot Plan…………………………………………………………….……. 14

References:

Model WQMP

Technical Guidance Document

California BMP Handbooks

Non-Priority Project Water Quality Plan

# Section 1 – General Information

See Technical Guidance Document Section 2.2.1 for additional information.

| Project Name |  |
| --- | --- |
| Tract |  |
| Lot |  |
| APN |  |
| Planning Area |  |

Prepared For:

| Owner/Developer |  |
| --- | --- |
| Address |  |
| Phone |  |
| Fax |  |

Prepared by:

| Name |  |
| --- | --- |
| Address |  |
| Phone |  |
| Email |  |
| Fax |  |

Dates:

| Date Prepared |  |
| --- | --- |
| Date(s) Revised |  |
| Date Finalized |  |

# Owner’s Certification

This Non-Priority Project Water Quality Plan has been prepared for:

Owner/Developer Name

By:

Preparer’s Name

The plan is intended to comply with the Non-Priority Project requirements of the Local Implementation Plan (LIP) §A-7.5.1 as required in the Orange County Drainage Management Plan (DAMP) § 7.6.2.

The undersigned, while it owns the subject property, is responsible for the implementation of the provisions of this plan. Once the undersigned transfers its interests in the property, its successor-in-interest shall bear the aforementioned responsibility to implement the best management practices (BMP) described within this plan.  A signed copy of this document shall be available on the subject property into perpetuity.

| Signed |  |
| --- | --- |
| Name |  |
| Title |  |
| Company |  |
| Address |  |
| Phone |  |
| Date |  |

# Section II: Project Description

Please provide a detailed description of the project’s ownership, type of development project, amount of paved and landscaped area, and potential pollutants that may be generated by the intended development uses. See Technical Guidance Document Section 2.2 for additional information.

Property Ownership

Project Description

Paved Areas

Landscaped Areas

Potential Stormwater Pollutants (see Technical Guidance Document Section 2.2.2)

# Section III: Site Description

See Technical Guidance Document Section 2.3 for additional information.

| Address |  |
| --- | --- |
| Planning Area |  |
| Land Use |  |
| Zoning |  |
| Acreage |  |
| Predominant Soil Type |  |

### Drainage Conditions

Please provide site drainage details, including how site drainage ties into adjacent property drainage patterns, local storm drain systems, and downstream receiving waters.

### Pre-Project Pervious Conditions

|  | Area (acres or sq ft) | Percentage |
| --- | --- | --- |
| Pervious |  |  |
| Impervious |  |  |

### Completed Project Pervious Conditions

|  | Area (acres or sq ft) | Percentage |
| --- | --- | --- |
| Pervious |  |  |
| Impervious |  |  |

### Watershed Information

Your local municipality stormwater program management staff may assist you with this information.

| Watershed |  |
| --- | --- |
| Receiving Waters |  |
| 303(d) Impairments |  |
| TMDLs |  |
| Known ESAs |  |
| Known ASBSs |  |

# Section IV: Best Management Practices (BMPs)

## Site Design BMPs

Site Design BMPs reduce the volume of stormwater runoff generated on a project site as well as improve the quality of runoff that leaves the site, and are required for all proposed Non-Priority new development and significant redevelopment projects. Descriptions of the most common Site Design BMPs are provided in County’s Technical Guidance Document (see Technical Guidance Document Sections 3 and 4). A list of typically employed Site Design BMPs may be found in the California BMP Handbooks (California Stormwater Quality Association).

The following table provides a list of Site Design BMPs that may be applicable for Non-Priority Projects. Please identify each Site Design BMP included for the project, and briefly describe within the table.

Site Design BMPs

| Name | Check If Included | Brief Description |
| --- | --- | --- |
| Hydrologic Source Controls |  |  |
| Retention Grading |  |  |
| Downspout Dispersion |  |  |
| Downspout Infiltration |  |  |
| Amended Soils Over Tight Underlying Soils |  |  |
| Street Trees, Canopy Interception |  |  |
| Residential Rain Barrels Not Actively Managed |  |  |

Site Design BMPs (continued)

| Name | Check If Included | Brief Description |
| --- | --- | --- |
| Infiltration |  |  |
| Bioretention without Underdrains |  |  |
| Rain Gardens |  |  |
| Porous Landscaping |  |  |
| Infiltration Planters |  |  |
| Retention Swales |  |  |
| Infiltration Trenches |  |  |
| Infiltration Basins |  |  |
| Drywells |  |  |
| Subsurface Infiltration Galleries |  |  |
| French Drains |  |  |
| Permeable Asphalt |  |  |
| Permeable Concrete |  |  |
| Permeable Concrete Pavers |  |  |

Site Design BMPs (continued)

| Name | Check If Included | Brief Description |
| --- | --- | --- |
| Evapotranspiration |  |  |
| Green Roofs, Brown Roofs, Blue Roofs |  |  |
| Rainwater Harvesting |  |  |
| Above-ground Rain Barrels |  |  |
| Above-ground Cisterns |  |  |
| Underground Tanks |  |  |
| Biotreatment |  |  |
| Bioretention with Underdrains |  |  |
| Stormwater Planter Boxes with Underdrains |  |  |
| Rain Gardens with Underdrains |  |  |
| Constructed Wetlands |  |  |
| Vegetated Swales |  |  |
| Vegetated Filter Strips |  |  |
| Compost-Amended Road Shoulders |  |  |
| Proprietary (Ready-To-Install) Vegetated Biotreatment Systems |  |  |

SOURCE CONTROL BMPs

Source Control BMPs, both non-structural and structural, are required for Non-Priority Projects where applicable to project features. Please identify each applicable Source Control BMP within the following tables. See Technical Guidance Document Section 6 for additional information.

## Non-Structural Source Control BMPs

| Identifier | Name | Check One |
| --- | --- | --- |
|  |  | Included | Not Applicable |
| N1 | Education for Property Owners, Tenants and Occupants |  |  |
| N2 | Activity Restrictions |  |  |
| N3 | Common Area Landscape Management (CASQA BMP Handbook SC-73) |  |  |
| N4 | BMP Maintenance |  |  |
| N5 | Title 22 CCR Compliance (How development will comply) |  |  |
| N6 | Local Industrial Permit Compliance |  |  |
| N7 | Spill Contingency Plan (CASQA BMP Handbook SC-11) |  |  |
| N8 | Underground Storage Tank Compliance |  |  |
| N9 | Hazardous Materials Disclosure Compliance |  |  |
| N10 | Uniform Fire Code Implementation |  |  |
| N11 | Common Area Litter Control (CASQA BMP Handbook SC-60) |  |  |
| N12 | Employee Training |  |  |
| N13 | Housekeeping of Loading Docks (BMP Handbook SD-31) |  |  |
| N14 | Common Area Catch Basin Inspection (BMP Handbook SC-74) |  |  |
| N15 | Street Sweeping Private Streets and Parking Lots (CASQA BMP Handbook SC-43, SC-70) |  |  |
| N16 | Commercial Vehicle Washing |  |  |

## Structural Source Control BMPs

| Name (with CA BMP Handbook Reference) | Check One |
| --- | --- |
|  | Included | Not Applicable |
| Storm Drain System Stenciling And Signage (SD-13) |  |  |
| Outdoor Material Storage Area Controls(SD-34) |  |  |
| Trash And Waste Storage Area Controls(SD-32) |  |  |
| Efficient Irrigation Systems (SD-12) |  |  |
| Slope And Channel Protection |  |  |
| Loading Dock Area Controls(SD-31) |  |  |
| Maintenance Bay Controls(SD-31) |  |  |
| Vehicle Wash Area Controls(SD-33) |  |  |
| Outdoor Processing Area Controls (SD-36) |  |  |
| Equipment Wash Area Controls(SD-33) |  |  |
| Fueling Area Controls (SD-30) |  |  |
| Hillside Planting And Landscaping (SD-10) |  |  |
| Wash Water Control For Food Preparation Areas |  |  |
| Community Car Wash Racks |  |  |

## Source Control BMP Implementation

Please describe implementation frequency and the party responsible for implementation of each Source Control BMP.

Other BMPs

Other BMPs or devices incorporated to remove pollutants from runoff leaving the project site, which may or may not include Treatment Control BMPs (see Technical Guidance Document Section 4.6), are not required for Non-Priority Projects though may be appropriate under certain conditions. Please provide details on any other BMPs selected for this project.

# Section V: Inspection and Maintenance Responsibilities

BMPs implemented for Non-Priority Projects must be inspected and maintained post-construction for proper effectiveness into perpetuity. Please document the structural BMP inspection schedule, permits, forms and maintenance information within the table below. See Technical Guidance Document Section 7 for additional information.

| BMP Inspection/Maintenance |
| --- |
| BMP | Reponsible Party(s) | Inspection/ Maintenance Activities Required | Minimum Frequency of Activities |